## Slide 1: Whole Transcriptome Sequencing INITIAL ASSESMENT USING SMALL SAMPLE SIZE Vendor: Illumina

## Slide 2
Utilities for WTS
Future-proof : No need to revalidate for each diseases and changing biomarkers
User-friendly workflow compared to Solid RNA (Exom capture)
Initial assessment indicates it can be cheaper as well for per sample

## Slide 3
Current Status for RNA fusion and Expression
Heme: 225 driver RNA
Solid-RNA:250 Panel
Validated 31 driver genes based on importance for ALL
Launched for ALL (31 for Fusion and 2 for expression)
What we misses….

## Slide 4
These are the expression markers from the subgrouping
ABCA9, ARHGEF12,BMPR1B, CA6, CD99, CHN2, CRLF2, DCTN4, DENND3,ECM1, ENAM, GAB1, GBP5, GPR110, IFITM1, IGJ, IL7R,LDB3, MDFIC, MMP28, MUC4, NRXN3, PON2, RBM47,RNF157, S100Z, SEMA6A, SCHIP1, SH2B3, SLC2A5,SLC37A3, SOC2, SPATS2L, TAF5L, TMEM154, TP53INP1,TTYH2, and WNT9A
We only cover CRLF2, SEMA6A and ARHGEF12
https://doi.org/10.1038/s41408-020-0308-3
There are no complete signature in our panel
Major advantage: WTS can detect signature for sub-classifications
Example1

## Slide 5
BCR-ABL up-regulated | BCR-ABL down-regulated
Gene | Gene
TBXA2R | BACH2
ABL1 | CSF2RB
AGPS | CYP46A1
CA6 | IRS1
CD97 | KIAA0922
CD99 | LY9
CNN3 | PHYH
DCTN4 | WWC3
GIMAP6 | 
GYPC | 
HIVEP2 | 
IFITM1 | 
IFITM3 | 
IGJ | 
IL2RA | 
LIMD1 | 
MMP28 | 
MUC4 | 
PON2 | 
PRX | 
SEMA6A | 
SLC5A3 | 
Reported BCR-ABL1 upregulated/down
regulated signature
Only ABL1 and SEMA6A are covered in our panel
R8 Cluster membership overlap with RNA Panel from other genes | 
CRLF2 | R8
LAIR1 | R8
SEMA6A | R8
Top 100 overexpression signature genes for ALL :
BMPR1B, CRLF2, GPR110, GPR171, IGJ, LDB3,MUC4
Cluster 8 has poor prognosis
WTS can detect signature for sub-classifications
Example2

## Slide 6
In literature already 22 subclasses of ALL are detected
Ph like ALL is distinct subclass
In summary WTS can find the signature profile for all sub-classes.
We cannot make the signature for disease subtyping under current situations

## Slide 7
Cost decreases $43 for Solid ($158-$98; it can be cheaper as we confirm the min read required in even lower than 10M)
Cost Increases $39 wrt to Heme ($119-$76); together with both assay we almost make even to existing cost or may be little cheaper.
The WTS assay is future proof and saves the cost for step wise validation for different diseases or panel updates with clinical significances
The estimate for number of reads is based on initial experiment in feasibility phase, more data is coming up.
 | Supplier | Kit Name | Cat # | Cost | Samples | WTS_Cost/Sample | Solid (Cost/Sample) | Heme
Extraction | Promega | FFPE (RNA) | AS1440 | $426 | 48 | $8.88 | $ 8.88 | $ 8.88
Library Prep | Illumina | Illumina® Stranded Total RNA Prep, Ligation with Ribo-Zero Plus (96 Samples) | 20040529 | $6,624 | 96 | $69.00 |  | $109.38
Indexing | IDT/Illumina | IDT® for Illumina® RNA UD Indexes Set A, Ligation (96 Indexes, 96 Samples) | 20040553 | $638 | 96 | $6.65 |  | $10.25
Lib Pep Cost |  |  |  |  |  | $84.53 | $ 67.5 | $ 129.18
 | Number of reads (PE) | Required reads (PE) |  | Kit cost | Number of samples | Cost/Sample |  | 
NovaSeq SP 200 cycles v1.5 | 1.60E+09 | 1.00E+07 | 20040719 | $ 2,819.00 | 80 | $35.24 | $31.25 | $29.36
NovaSeq S1 200 cycles v1.5 | 3.20E+09 | 1.00E+07 | 20028318 | $ 4,971.00 | 160 | $31.07 |  | 
 |  |  |  |  | Total Cost (for using SP) | $119.76 | $98.78 ($158 for lung 2.0) | $ 158.54/2=$76
 |  |  |  |  | Total Cost (for using S1) | $115.59 |  | 
Cost Impact if we replace WTS for Solid-RNA fusion and Heme:

## Slide 8
 | Solid-RNA (CLIN-WI-0212) | Proposed WTS
rRNA depletion/probe remove enzymatically | Not Needed | 1 hr
Cleanup |  | 30 min
RNA Fragmentation | 1 min at 65C | 2 min
1st strand cDNA | 40 min | 40 min
2nd Strand synthesis and A tailing | 40 min | 60 min (plus cleanup 30 min+40 min for A-tailing)
Adapter Ligation | 20 min | 20 min
Adapter Cleanup | 30 min | 30 min
Library Amplification | About 30-40 min | 30 min
Adapter Cleanup | 30 min | Not needed
Hybridization (Includes SpeedVac to dry-down samples involving risk for salt-crystallization and follow-up treatment) | 2 hr+ | 
Washes | 2 hr | 
Post-Capture PCR | 30-40 min | 
Cleanup | 30 min | 30 min
Estimated time (run time) | 500 min (about 8 hr approx.) | 302 min (5 hr run time)
Actual time | 2 to 3 days | 1-2 days
Workflow comparison for Solid Fusion and proposed WTS

## Slide 10
Chemistry and workflow and Kit selection for WTS

## Slide 11
 | Illumina (Experiment done) | Roche (KAPA) (Lib prep in progress) | Lexogen (in progress) | Takara (waiting kit)
FFPE | Yes | Yes | Yes | Yes
UMI Included | No | No | Yes (in Read 1) | No
Sample Input | 10 ng min for FFPE | Lowest limit is about 25 ng | 25 ng for FFPE | 10 -25 ng for FFPE
Claimed Runtime (Total) | 7 hr | <7 hr | 7 hr | 7-10 hr
Stranded | Yes | Yes | Yes | Yes
Human cytoplasmic rRNA | Depleted (Part of Kit workflow) | Depleted (Part of Kit workflow) | Not part of Kit_Same vendor | Not part of Kit_ Different vendor
Mitochondria rRNA | Depleted (Part of Kit workflow) | Depleted (Part of Kit workflow) | Not part of Kit_Same vendor | Not part of Kit_Different vendor
Human beta globin transcripts | Depleted (Part of Kit workflow) | Depleted (Part of Kit workflow) | Not part of Kit_Same vendor | Not part of Kit: Different vendor
Automation | Capable | Capable | Capable | Capable
Analysis | Included | Not Included | Included | Included
COGs (excluding sequencing) | About $100 per sample or less | About $100 per sample or less | About $120 per sample | About $100 per sample or less
Kit comparison for WTS

## Slide 12
 | Illumina-BaseSpace | In house Pipeline
Uses | Fusion Catcher | Arriba, Star Fusion
Other QC? | Softclip reads number, Junction reads | Read support on both sides, Machine learning probability score (F1), Junction counter
Specificity | Less Specific | Specificity is high
Adaptability | Like Blackbox with minimum chances to optimize | High to any extent
Cost | Cost associated for i-credit | No additional cost
Analysis comparison for cost and performance

## Slide 13
 | Illumina
FFPE | Yes
Heme | Yes
Sample Input | 10 ng min for FFPE (min), 1 ng for Heme or cell line RNA
Runtime (Total) | <7 hr
Start to end | 2 days
Stranded | Yes
Human cytoplasmic rRNA | Depleted (Part of Kit workflow)
Mitochondria rRNA | Depleted (Part of Kit workflow)
Human beta globin transcripts | Depleted (Part of Kit workflow)
Automation | Capable
Analysis | Included
COGs (excluding sequencing) | About $100 per sample or less
Multiplexing | Can be multiplexed to 384 samples per run
Chemistry and Workflow:Illumina Stranded Total RNA Prep, Ligation with Ribo-Zero™ Plus
Workflow:
Kit selection criteria:

## Slide 14
Based on whitepaper:
Need 30M reads
Input 10 ng for FFPE (other samples can go to 1 ng)
More than 99% depletion for globin and >95% for rRNA
% duplication expected is about 5% until 10 ng and 20% for 1 ng input
Strandedness is >99%
Correlation coefficient >0.99 between replicates at 10 ng FFPE input
Chemistry and white Paper claim
Illumina Kit

## Slide 15
Library Preparations QC and run QC

## Slide 16
Library Preparation Performance
FFPE library
Seracare spikein library
NTC library
No significant adapter or primer dimer

## Slide 17
Sequencing Performances:
Avg Q30 >90
Avg PF: about 82%

## Slide 18
Over clustered, loaded 100 pM (for 0.5 nM pool) as per recommendations as per recommendation
May use 0.45 nM pool to load
Clustering on Flowcell:
Run quality per cycle
Recommended batch size: 16 samples for SP and 32 for S1

## Slide 19
FFPE
Globin

## Slide 20
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
Ilm_MOL22-013125-100ng_26348371018 | 96.9 | 2.5 x | 100.00% | 0.00% | 0.80% | 31.70% | 96.50% | 2.58% | 0.12% | 1.85% | 130 | 120 | 19.28%
Ilm_MOL22-013125-100ng_26348371021 | 97.1 | 2.5 x | 100.00% | 0.00% | 0.80% | 32.60% | 96.40% | 2.59% | 0.16% | 1.85% | 139 | 120.3 | 19.26%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
Ilm_MOL22-013125-50ng_26348404469 | 60 | 1.5 x | 100.00% | 0.00% | 1.40% | 30.20% | 97.00% | 1.57% | 0.11% | 0.98% | 134 | 78.9 | 24.42%
Ilm_MOL22-013125-50ng_26348404470 | 60.1 | 1.5 x | 100.00% | 0.00% | 1.40% | 31.10% | 96.90% | 1.58% | 0.14% | 0.98% | 130 | 79 | 24.40%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
Ilm_MOL22-013125-25ng_26348405440 | 89.3 | 2.3 x | 100.00% | 0.00% | 1.10% | 40.90% | 97.30% | 1.54% | 0.09% | 0.99% | 137 | 115.2 | 22.81%
Ilm_MOL22-013125-25ng_26348405441 | 89.3 | 2.3 x | 100.00% | 0.00% | 1.10% | 42.60% | 97.20% | 1.55% | 0.11% | 0.98% | 139 | 115.3 | 22.83%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
Ilm_NTP21-045543-100ng_26348429846 | 58.4 | 1.5 x | 100.00% | 0.00% | 0.50% | 22.70% | 96.50% | 2.88% | 0.12% | 2.26% | 136 | 66.4 | 12.00%
Ilm_NTP21-045543-100ng_26348429847 | 58.3 | 1.5 x | 100.00% | 0.00% | 0.60% | 23.20% | 96.40% | 2.87% | 0.15% | 2.25% | 138 | 66.4 | 12.03%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
Ilm_NTP21-045543-50ng_26348466259 | 82.2 | 2.1 x | 100.00% | 0.00% | 0.80% | 29.50% | 96.50% | 2.56% | 0.12% | 1.99% | 138 | 93.7 | 12.38%
Ilm_NTP21-045543-50ng_26348466261 | 82.2 | 2.1 x | 100.00% | 0.00% | 0.90% | 30.40% | 96.40% | 2.57% | 0.15% | 1.99% | 136 | 93.7 | 12.38%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
Ilm_NTP21-045543-25ng_26348439883 | 69.9 | 1.8 x | 100.00% | 0.00% | 1.20% | 33.40% | 96.90% | 1.75% | 0.10% | 1.29% | 128 | 80.1 | 13.21%
Ilm_NTP21-045543-25ng_26348439885 | 70 | 1.8 x | 100.00% | 0.00% | 1.30% | 34.60% | 96.80% | 1.75% | 0.12% | 1.29% | 129 | 80.3 | 13.20%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
Ilm_NTP21-045543-12ng_26348448292 | 137.8 | 3.5 x | 100.00% | 0.00% | 1.50% | 46.50% | 97.30% | 1.11% | 0.09% | 0.69% | 135 | 165.5 | 17.37%
Ilm_NTP21-045543-12ng_26348448295 | 137.8 | 3.5 x | 100.00% | 0.00% | 1.60% | 48.60% | 97.20% | 1.11% | 0.11% | 0.69% | 130 | 165.4 | 17.36%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
JEA-021-100ng_26448386546 | 45 | 1.1 x | 100.00% | 0.00% | 0.60% | 27.10% | 95.80% | 3.48% | 0.14% | 2.67% | 134 | 52.9 | 14.82%
JEA-021-100ng_26448386548 | 45 | 1.1 x | 100.00% | 0.00% | 0.50% | 26.80% | 95.80% | 3.52% | 0.10% | 2.70% | 137 | 53.1 | 15.04%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
JEA-021-50ng_26448394619 | 55.8 | 1.4 x | 100.00% | 0.00% | 1.00% | 33.10% | 96.10% | 2.79% | 0.12% | 2.09% | 143 | 64.7 | 14.01%
JEA-021-50ng_26448394621 | 55.7 | 1.4 x | 100.00% | 0.00% | 1.00% | 32.40% | 96.10% | 2.83% | 0.09% | 2.13% | 136 | 64.7 | 14.19%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
JEA-021-25ng_26448378833 | 53.4 | 1.4 x | 100.00% | 0.00% | 0.90% | 39.00% | 97.00% | 1.94% | 0.13% | 1.36% | 139 | 62.3 | 14.48%
JEA-021-25ng_26448378834 | 53.3 | 1.4 x | 100.00% | 0.00% | 0.90% | 38.00% | 97.00% | 1.95% | 0.10% | 1.37% | 142 | 62.3 | 14.67%
MultiQC for Sequencing reads as function of input range
FFPE
Globin

## Slide 21
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
JEA-020-100ng-EE_26448377137 | 54.5 | 1.4 x | 100.00% | 0.00% | 1.30% | 72.30% | 96.80% | 1.72% | 0.14% | 0.43% | 142 | 288.3 | 81.21%
JEA-020-100ng-EE_26448377139 | 55.1 | 1.4 x | 100.00% | 0.00% | 1.20% | 72.40% | 96.90% | 1.80% | 0.12% | 0.44% | 147 | 292.8 | 81.27%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
JEA-020-100ng_26448361556 | 39.4 | 1.0 x | 100.00% | 0.00% | 0.50% | 29.50% | 94.70% | 4.61% | 0.15% | 3.57% | 143 | 46.9 | 15.88%
JEA-020-100ng_26448361558 | 39.4 | 1.0 x | 100.00% | 0.00% | 0.50% | 29.20% | 94.70% | 4.66% | 0.10% | 3.62% | 143 | 47 | 16.11%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
JEA-020-50ng-EE_26448378695 | 44.4 | 1.1 x | 100.00% | 0.00% | 1.50% | 71.30% | 96.80% | 1.59% | 0.17% | 0.39% | 147 | 238.4 | 81.51%
JEA-020-50ng-EE_26448378697 | 44.7 | 1.1 x | 100.00% | 0.00% | 1.30% | 71.20% | 96.90% | 1.67% | 0.13% | 0.40% | 161 | 241.1 | 81.56%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
JEA-020-50ng_26448399157 | 52.2 | 1.3 x | 100.00% | 0.00% | 0.50% | 33.50% | 97.30% | 2.11% | 0.13% | 1.48% | 146 | 62.9 | 16.86%
JEA-020-50ng_26448399159 | 52.3 | 1.3 x | 100.00% | 0.00% | 0.50% | 33.10% | 97.30% | 2.13% | 0.09% | 1.50% | 142 | 63.2 | 17.09%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
MOL22-010778-100ng-EE_26448391827 | 54.4 | 1.4 x | 100.00% | 0.00% | 1.70% | 71.00% | 96.40% | 1.74% | 0.13% | 0.50% | 134 | 294 | 81.72%
MOL22-010778-100ng-EE_26448391829 | 55.1 | 1.4 x | 100.00% | 0.00% | 1.70% | 71.30% | 96.40% | 1.80% | 0.12% | 0.50% | 137 | 298.7 | 81.73%
Sample Name | M Input reads | Raw depth | Paired | QC-fail | Unmap | Dup | Prop pair | Discord | Singleton | Diff chr, MQ⩾10 | Med IS | M Alignments | Sec'ry
MOL22-010778-100ng_26448399602 | 43.2 | 1.1 x | 100.00% | 0.00% | 0.80% | 26.20% | 95.70% | 3.38% | 0.10% | 2.54% | 127 | 51 | 15.31%
MOL22-010778-100ng_26448399603 | 43.4 | 1.1 x | 100.00% | 0.00% | 0.80% | 25.70% | 95.80% | 3.34% | 0.08% | 2.49% | 129 | 51.3 | 15.43%
Efficiency for r-RNA and Globin depletion
Un-depleted
depleted
Globin
FFPE
Un-depleted
depleted
Un-depleted
depleted

## Slide 22
Depletion efficiency is high and performances are similar at different input
Sample | Pass/Fail | Initial # | % Bases | Insert | % Mito- | % Ribo- | % Dupli- | Filtered | % Passed | % Mapped | % Uniquely | % Exonic | % Reads | Avg Target | Avg Known | Avg Novel | 5'/3'
 |  | Reads (M) | >= Q30 | Length | chondrial | somal | cates | Reads (M) | Filters | Reads | Mapped | Reads | On Target | Coverage | Junc Cov | Junc Cov | Bias
MOL22-010778-100ng | PASS | 86.58 | 93.98 | 125 | 1.07 | 1.73 | N/A | 83.25 | 96.16 | 95.23 | 95.41 | 22.21 | N/A | N/A | 19 | 1.8 | 1.01
MOL22-010778-100ng-EE | PASS | 109.49 | 93.81 | 126 | 3.45 | 69.71 | N/A | 27 | 24.66 | 93.49 | 90.35 | 22.94 | N/A | N/A | 9 | 2 | 1.02
MOL22-010778-50ng | PASS | 105.39 | 93.78 | 125 | 0.78 | 1.73 | N/A | 101.24 | 96.07 | 95.78 | 95.52 | 21.75 | N/A | N/A | 22 | 2 | 1.04
MOL22-010778-50ng-EE | PASS | 121.17 | 93.67 | 126 | 3.19 | 70.5 | N/A | 28.98 | 23.92 | 90.15 | 87.15 | 22.33 | N/A | N/A | 9 | 2.1 | 1
JEA-020-100ng | PASS | 78.76 | 93.45 | 125 | 0.35 | 1.47 | N/A | 76.68 | 97.36 | 94.19 | 94.46 | 21.88 | N/A | N/A | 22 | 1.8 | 1.06
JEA-020-100ng-EE | PASS | 109.63 | 92.82 | 126 | 3.69 | 69.09 | N/A | 27.18 | 24.8 | 94.31 | 89.42 | 22.96 | N/A | N/A | 11 | 1.8 | 1
JEA-020-50ng | PASS | 104.5 | 93.47 | 125 | 0.29 | 1.84 | N/A | 101.47 | 97.09 | 96.76 | 94.34 | 21.95 | N/A | N/A | 28 | 2 | 1.07
JEA-020-50ng-EE | PASS | 89.14 | 92.37 | 126 | 3.34 | 70.33 | N/A | 21.15 | 23.73 | 94.37 | 90.13 | 23.18 | N/A | N/A | 9 | 1.8 | 1.02

## Slide 23
Insert length at 12.5 ng dropped significantly but in Heme it did not change until 25 ng input
Sample | Pass/Fail | Initial # | % Bases | Insert | % Mito- | % Ribo- | % Dupli- | Filtered | % Passed | % Mapped | % Uniquely | % Exonic | % Reads | Avg Target | Avg Known | Avg Novel | 5'/3'
 |  | Reads (M) | >= Q30 | Length | chondrial | somal | cates | Reads (M) | Filters | Reads | Mapped | Reads | On Target | Coverage | Junc Cov | Junc Cov | Bias
MOL22-010778-100ng | PASS | 86.58 | 93.98 | 125 | 1.07 | 1.73 | N/A | 83.25 | 96.16 | 95.23 | 95.41 | 22.21 | N/A | N/A | 19 | 1.8 | 1.01
MOL22-010778-50ng | PASS | 105.39 | 93.78 | 125 | 0.78 | 1.73 | N/A | 101.24 | 96.07 | 95.78 | 95.52 | 21.75 | N/A | N/A | 22 | 2 | 1.04
MOL22-010778-25ng | PASS | 152.85 | 93.78 | 118 | 0.61 | 2.19 | N/A | 145.32 | 95.07 | 96.92 | 95.34 | 21.94 | N/A | N/A | 33 | 2.5 | 1.02
MOL22-010778-12ng | PASS | 130.77 | 92.66 | 35 | 0.47 | 2.24 | N/A | 120.36 | 92.04 | 96.57 | 95.33 | 21.83 | N/A | N/A | 29 | 2.8 | 1.03
JEA-021-100ng | PASS | 90.07 | 93.46 | 125 | 0.2 | 1.8 | N/A | 87.47 | 97.12 | 95.53 | 95.24 | 27.36 | N/A | N/A | 31 | 2 | 1.07
JEA-021-50ng | PASS | 111.49 | 93.5 | 125 | 0.16 | 1.62 | N/A | 108.1 | 96.96 | 96.19 | 95.38 | 27.26 | N/A | N/A | 37 | 2.2 | 1.07
JEA-021-25ng | PASS | 106.68 | 93.53 | 125 | 0.14 | 1.73 | N/A | 103.44 | 96.97 | 96.95 | 95.33 | 27.42 | N/A | N/A | 37 | 2.3 | 1.12
JEA-020-100ng | PASS | 78.76 | 93.45 | 125 | 0.35 | 1.47 | N/A | 76.68 | 97.36 | 94.19 | 94.46 | 21.88 | N/A | N/A | 22 | 1.8 | 1.06
JEA-020-50ng | PASS | 104.5 | 93.47 | 125 | 0.29 | 1.84 | N/A | 101.47 | 97.09 | 96.76 | 94.34 | 21.95 | N/A | N/A | 28 | 2 | 1.07
JEA-020-25ng | PASS | 603.1 | 93.08 | 125 | 0.23 | 2.27 | N/A | 581.03 | 96.34 | 97.43 | 94.22 | 22.12 | N/A | N/A | 131 | 3.9 | 1.07
MOL22-010778 | PASS | 12.10 | 82.34 | 268 | 0.34 | 5.61 | 49.19 | 5.20 | 43.01 | 95.28 | 94.84 | 74.10 | 69.25 | 577 | 225 | 3.4 | 5.23
Solid QC

## Slide 24: Whole Transcriptome Sequencing-DATA INITIAL ASSESMENT USING SMALL SAMPLE SIZE Vendor: Illumina

## Slide 25
Chemistry evaluation for input range (FFPE and Globin)
Chemistry evaluations for tumor dilution (FFPE and Globin)
Chemistry evaluation for required number of reads as function to input range
Run to run performance evaluations
Base apace DRAGEN server vs in-house analysis pipeline
Observation:
Steady performance until 25 ng of input for FFPE and Globin samples
Minimum amount of reads required is 10M from 100 ng to 25 ng input
Initial Run-to-run performance is robust (need to more samples and run)
In-house pipeline is more specific with built-in QC metrics
Fusion

## Slide 26
MOL22-013125_S3 |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 34 | 21 | ETV6:NTRK3 | 103 | 20 | 43 | 17 | 0.73
MOL22-013125_50ng_S18 |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 25 | 17 | ETV6:NTRK3 | 91 | 13 | 55 | 14 | 0.67
MOL22-013125_25ng_S19 |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 21 | 22 | ETV6:NTRK3 | 117 | 10 | 75 | 19 | 0.75
MOL22-013125_12.5ng_S20 |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 20 | 18 | ETV6:NTRK3 | 51 | 10 | 31 | 14 | 0.67
Input Range: Two FFPE samples compared in Solid, Dragen and WTS-in-house pipeline
MOL22-013125 |  |  | 
Input | Solid Chemistry | WTS_Solid workflow | WTS_Basespcase workflow
100 ng | ETV6--NTRK3 (input 200 ng?) | ETV6--NTRK3 | ETV6--NTRK3
50 ng | NA | ETV6--NTRK3 | ETV6--NTRK3
25 ng | NA | ETV6--NTRK3 | ETV6--NTRK3
12.5 ng | NA | ETV6--NTRK3 | ETV6--NTRK3
FFPE_Sample1
MOL22-010778-N-100ng_N_S24 |  |  |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | FCFrame | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
KANSL1:ARL17A | 17:46094560 | 17:46570869 | 16 | 18 | out-of-frame | KANSL1:ARL17A | 32 | 11 |  | 0 | 0 | 0.62
MOL22-010778-50ng_N_S25 |  |  |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | FCFrame | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
KANSL1:ARL17A | 17:46094560 | 17:46570869 | 11 | 15 | out-of-frame | KANSL1:ARL17A | 58 | 10 |  | 0 | 0 | 0.47
MOL22-010778-25ng_N_S26 |  |  |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | FCFrame | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
KANSL1:ARL17A | 17:46094560 | 17:46570869 | 8 | 17 | out-of-frame | KANSL1:ARL17A | 44 | 6 |  | 0 | 0 | 0.6
MOL22-010778-12dot5ng_N_S27 |  |  |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | FCFrame | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
None |  |  |  |  |  |  |  |  |  |  |  | 
FFPE_Sample2
MOL22-010778-N | 
Input (ng) | Solid Workflow
100 | KANSL1:ARL17A
50 | KANSL1:ARL17A
25 | KANSL1:ARL17A
12.5 | ND

## Slide 27
Tumor content titration at 100 ng input
MOL22-013125_S3 | 80% Tumor |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 34 | 21 | ETV6:NTRK3 | 103 | 20 | ETV6:NTRK3 | 43 | 17 | 0.73
MOL22-013125_N-S4 | 0% Tumor |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
1 to 2 dil | 40% Tumor |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 23 | 15 | ETV6:NTRK3 | 48 | 23 | ETV6:NTRK3 | 25 | 10 | 0.53
1 to 4 dil | 20% Tumor |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 21 | 16 | ETV6:NTRK3 | 38 | 13 | ETV6:NTRK3 | 21 | 10 | 0.57
1 to 8 dil | 10 % Tumor |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 8 | 13 | ETV6:NTRK3 | 29 | 3 | ETV6:NTRK3 | 20 | 8 | 0.44
MOL22-013125 |  |  | 
Tumor Percent | Solid | WTS_solid workflow | WTS_Basespace
80% | ETV6--NTRK3 | ETV6--NTRK3 | ETV6--NTRK3
40% | NA | ETV6--NTRK3 | ETV6--NTRK3
20% | NA | ETV6--NTRK3 | ETV6--NTRK3
10% | NA | Detected | ETV6--NTRK3

## Slide 28
MOL22-013125 (100 ng)_Run1 | #FusionGene | Score | LeftBreakpoint | RightBreakpoint | Gene1Id | Gene2Id | NumSplitReads
 | ETV6--NTRK3 | 0.999993 | chr12:11869969:+ | chr15:87940753:- | ENSG00000139083.10 | ENSG00000140538.16 | 47
MOL22-013125 (100 ng)_Run2 | #FusionGene | Score | LeftBreakpoint | RightBreakpoint | Gene1Id | Gene2Id | NumSplitReads
 | ETV6--NTRK3 | 0.999987 | chr12:11869969:+ | chr15:87940753:- | ENSG00000139083.10 | ENSG00000140538.16 | 62
Robustness in detection between runs and comparison between DRAGEN server vs in-house pipeline (needs more data, in progress)
Same sample input (100 ng)
MOL22-013125_S3 |  |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 34 | 21 | ETV6:NTRK3 | 103 | 20 | ETV6:NTRK3 | 43 | 17 | 0.73
MOL22-013125_S17 |  |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
ETV6:NTRK3 | 12:11869969 | 15:87940753 | 27 | 25 | ETV6:NTRK3 | 121 | 11 | ETV6:NTRK3 | 68 | 26 | 0.74
BaseSpace Analysis
In-house Analysis
MOL22-013125 |  |  | 
Run | Solid Expected | WTS_solid workflow | WTS_Basespace
Run1 | ETV6--NTRK3 | ETV6--NTRK3 | ETV6--NTRK3
Run2 | NA | ETV6--NTRK3 | ETV6--NTRK3

## Slide 29
 |  |  | MOL22-010778 |  |  |  |  |  | 
 | Input | Tumor content | #FusionGene | Score | LeftBreakpoint | RightBreakpoint | Gene1Id | Gene2Id | NumSplitReads
MOL22-010778 | 100 | 60% | SVEP1--PRUNE2 | 0.998 | chr9:110579013:- | chr9:76850665:- | ENSG00000165124.18 | ENSG00000106772.18 | 17
 |  |  | TMPRSS2--ERG | 0.998 | chr21:41508081:- | chr21:38423561:- | ENSG00000184012.12 | ENSG00000157554.19 | 9
MOL22-010778_S1 |  |  |  |  |  |  |  |  |  |  |  | 
Fccall | Brk1 | Brk2 | FC1 | FC2 | FCFrame | sfcall | SF1 | SF2 | Arbcall | A1 | A2 | F1
SVEP1:PRUNE2 | 9:110579013 | 9:76850665 | 11 | 14 | in-frame | SVEP1:PRUNE2 | 31 | 5 | SVEP1:PRUNE2 | 15 | 13 | 0.49
KANSL1:ARL17A | 17:46094560 | 17:46570869 | 8 | 15 | out-of-frame | KANSL1:ARL17A | 27 | 7 |  | 0 | 0 | 0.46
TMPRSS2:ERG | 21:41508081 | 21:38423561 | 5 | 9 | UTR/CDS(truncated) | TMPRSS2:ERG | 14 | 0 |  | 0 | 0 | 0.12
MOL22-010778: Expected from Solid, TMPRSS2--ERG
BaseSpace Analysis
Solid Analysis
Robustness in detection between runs (weak fusion)
Same sample input (100 ng)
MOL22-010778_S1 detected TMPRSS2:ERG as week fusion (expected)

## Slide 30
Sample | Brk1 | Brk2 | cytoband | Arbcall | A1 | A2 | A3 | A4 | sfcall | SF1 | SF2 | SF3 | SF4 | Fccall | FC1 | FC2 | Callers | J1 | F1 | class | 
MOL22-010778 | 21:41508081 | 21:38423561 | del(21;21)( 21q22.2; 21q22.13) | TMPRSS2:ERG | 5 | 47 | 376 | 123 | TMPRSS2:ERG | 106 | 0 | 560 | 29 | TMPRSS2:ERG | 100 | 27 | 3 | 0 | 0.83 | Strong Fusion | 
MOL22-013125 | 12:11869969 | 15:87940753 | t(12;15)( 12p13.2; 15q25.3) | ETV6:NTRK3 | 300 | 230 | 4254 | 1032 | ETV6:NTRK3 | 1123 | 38 | 4007 | 533 | ETV6:NTRK3 | 1431 | 43 | 3 | 6 | 0.92 | Strong Fusion | 
MOL22-013125 | 15:88032857 | 12:11884445 | t(15;12)( 15q25.3; 12p13.2) | NTRK3:ETV6 | 33 | 36 | 861 | 3587 | NTRK3:ETV6 | 64 | 18 | 665 | 2775 | NTRK3:ETV6 | 1431 | 25 | 3 | 42 | 0.89 | Strong Fusion | 
Read support is more for Solid-RNA fusion.
Need optimization in F1 with known fusion in more samples

## Slide 31
Input level vs read titrations (FFPE)
 | Status | 10M | 20M | 30M | 40M | 50M | 60M | 70M
 |  | ETV6:NTRK3 | ETV6:NTRK3 | ETV6:NTRK3 | ETV6:NTRK3 | ETV6:NTRK3 | ETV6:NTRK3 | ETV6:NTRK3
100 ng | WTS | Detected | Detected | Detected | Detected | Detected | Detected | Detected
50 ng | WTS | Detected | Detected | Detected | Detected | Detected | Detected | Detected
25ng | WTS | Detected | Detected | Detected | Detected | Detected | Detected | Detected
The QC Metrics for F1 needs to be trained using real samples but as per the read support the fusion was detected
Analyzing more samples for different quality to confirm the number

## Slide 32
Raw data for down sampling

## Slide 33
Sample | Brk1 | Brk2 | Arbcall | A1 | A2 | sfcall | SF1 | SF2 | Fccall | FC1 | FC2 | F1 | Comment
JEA-020-100ng | 22:23182239 | 9:130854064 | BCR:ABL1 | 16 | 21 | BCR:ABL1 | 32 | 33 | BCR:ABL1 | 43 | 12 | 0.6 | 
JEA-020-100ng-EE | 22:23182239 | 9:130854064 | BCR:ABL1 | 5 | 7 | BCR:ABL1 | 11 | 13 | BCR:ABL1 | 13 | 6 | 0.1 | 
JEA-020-50ng | 9:130714455 | 22:23253799 |  | 0 | 0 | ABL1:BCR | 5 | 7 | ABL1:BCR | 59 | 5 | 0.37 | 
JEA-020-50ng | 22:23182239 | 9:130854064 | BCR:ABL1 | 20 | 32 | BCR:ABL1 | 40 | 44 | BCR:ABL1 | 59 | 14 | 0.74 | 
JEA-020-50ng-EE | 22:23182239 | 9:130854064 |  | 0 | 0 | BCR:ABL1 | 5 | 10 | BCR:ABL1 | 13 | 4 | 0.11 | 
JEA-021-100ng | X:1536921 | X:1212636 | P2RY8:CRLF2 | 11 | 8 | P2RY8:CRLF2 | 26 | 27 | P2RY8:CRLF2 | 33 | 11 | 0.45 | 
JEA-021-25ng | X:1536921 | X:1212636 |  | 0 | 0 | P2RY8:CRLF2 | 16 | 32 | P2RY8:CRLF2 | 28 | 7 | 0.4 | 
JEA-021-50ng | X:1536921 | X:1212636 | P2RY8:CRLF2 | 9 | 5 | P2RY8:CRLF2 | 16 | 28 | P2RY8:CRLF2 | 27 | 8 | 0.35 | 
Input | Expected | Detected | Status | Globin/rRNA depletion efficiency
JEA20-100 ng | BCR:ABL1 | BCR:ABL1 | TP | High
JEA20-50 ng | BCR:ABL1 | BCR:ABL1 | TP | High
JEA20-25 ng | BCR:ABL1 | BCR:ABL1 | TP | High
JEA20-100 ng | P2RY8:CRLF2 | P2RY8:CRLF2 | TP | NA
JEA20-50 ng | P2RY8:CRLF2 | P2RY8:CRLF2 | TP | NA
JEA20-25 ng | P2RY8:CRLF2 | P2RY8:CRLF2 | TP | NA
Heme fusion
Summary

## Slide 34
Sample | Brk1 | Brk2 | Arbcall | A1 | A2 | A3 | A4 | sfcall | SF1 | SF2 | SF3 | SF4 | Callers | Frame | J1 | W1 | O1 | J2 | W2 | O2 | FF1 | FF2 | J | F1 | class
JEA020POS-RNA | 22:23182239 | 9:130854064 | BCR:ABL1 | 300 | 300 | 9331 | 3197 | BCR:ABL1 | 702 | 60 | 13059 | 3785 | 2 | in-frame | 6 | 17189 | 2371 | 0 | 4627 | 2690 | 0 | 0 | 6 | 0.82 | Strong Fusion
Run # | DNA Quant (ng/uL) | RNA Quant (ng/uL) | OD 260/280 | DNA Input (ng) | RNA Input (ng) | Batch
7 | 150 | 41.3 | 2.01 | 100 | 100 | QIAseq297-040821RnDRun6Run7
Sample | Status |  | Initial # | % Bases | Insert | % Bases | % Bases | % Mito- | % Ribo- | % Dupli- |  | Filtered # | % Passed | % Mapped | % Uniquely | % Exonic | % Reads | Avg Target | % Targets | % Targets |  | % Bases | % Overl. | % Junc. | Avg Known | Avg Novel | 5'/3'
 |  |  | Reads (M) | ≥ Q30 | Length | UMI+COM | Low Comp | chondrial | somal | cates |  | Reads (M) | Filters | Reads | Mapped | Reads | On Target | Coverage | ≥ 10X | ≥ 500X |  | Usable | Reads | Reads | Junc. Cov | Junc. Cov | Bias
JEA020POS-RNA | PASS |  | 58.59 | 77.67 | 92 | 8.68 | 14.83 | 0.01 | 0.10 | 30.24 |  | 16.32 | 27.86 | 79.01 | 95.78 | 55.21 | 91.61 | 6,269 | 97.25 | 62.69 |  | 15.61 | 46.11 | 30.79 | 952 | 7.3 | 14.69
Sample Input (April,2021)
Heme Read Support Performed in April,2021
In WTS we have less read support which can be because of sample stability and multiple freeze thaw over last one year,
Including samples from freshly performed runs.

## Slide 35
Fusion Summary
WTS kit can perform for a input range 100 ng to 12.5 ng FFPE tested for strong fusion and to 25 ng for week fusion tested
Robust fusion in a tumor dilution series to 20% in FFPE
Run to run precision is high (tested at 100 ng input)
Heme/rRNA depletion efficiency is high
Fusion in Heme samples can also be tested from 100 to 25 ng of sample input
Next
Testing samples from recent operation run which has strong and week fusion in same samples (in progress)

## Slide 36
Expression
Evaluate the chemistry using two FFPE and two Globin samples (Ph+ and Ph –like)
Evaluated based on gene expression data on 297 panel for quick chemistry evaluations for Input range and tumor
Sensitivity
Needs to see expression of all the genes together (TMP calculation is in pipeline)
Observations:
Correlation coefficient is very high in both FFPE and HEME samples from 100 ng, 50 ng and 25 ng showing linearity
Ribosomal-RNA and Globin depletion is effective and needed
Evaluated Hierarchical clustering, heatmap clustering to find lowest input to be 12.5 ng for FFPE and 25 ng for Globin
(did not test 12.5 ng) and tumor dilution to 20% and above
Successfully grouped the Prostate cancer, …., Ph+ and Ph like ALL using the genes from 297 panel as POC for the chemistry
(this saved time for pipelie)
More data is coming for full exome to explore

## Slide 37
Input Range_Expression FFPE samples:Good correlation between 25 and 100 ng input

## Slide 38
Input Range_Expression Heme: Good correlation between 25 and 100 ng input

## Slide 39
Impact for not having globin and heme depletion: The depletion is effective and needed
100 ng input
50 ng input

## Slide 40
Evaluation for Input range and sensitivity for tumor dilution is determined by:
Heatmap
Kmean clustering

## Slide 41
Sensitivity prediction input range for expression in FFPE sample
right temporal brain tissue (FFPE)
Ph+ ALL (Globin)
Ph like ALL (Globin)
Salivary Gland (FFPE)

## Slide 42
For expression the kmeans clustering shows input can be used until 12.5 ng of FFPE
Beyond 20% tumor content the data starts looking more like normal for expression (unlike fusion)
FFPE_3125-100ng-40% tumor does not belong to native tumor or normal cluster; here we included 275 genes
Next we want to see what will happen when we include all expression gene; Exp data (TPM ) are in analysis pipeline now
Confirmation on the input range and tumor dilution based on tumor dilution
Cluster1 | Cluster2 | Cluster3
FFPE_3125-100ng-40% tumor | FFPE_3125-N | FFPE_3125-100ng
 | FFPE_3125-100ng-20% tumor | FFPE_3125-50ng
 | FFPE_3125-100ng-10% tumor | FFPE_3125-25ng
 |  | FFPE_3125-12.5ng
Cluster membership

## Slide 43
Compromise in cluster quality between 2 vs 3 clusters using FFPE samples at 100,50,25,1.2 ng input and 80%,40% ,20% and 10% tumor purity

## Slide 44
Salivary gland Solid
BCR-ABL1
Ph+ ALL
CRLF2-P2R8y
Philadelphia like ALL
Fusion
CRLF2, ABL1/2,CSFR1,PDGFR A/B,EPOR,JAK2
ALL
BCR-ABL1?
Yes
NO
GEF (CRLF2 is major)
The OE can cause by:
Mutation for IKZF1 for CRLF2
JAK Mutation (JAK2R683)
IL-7 receptor alpha chain
(IL7RA)
Poor prognosis
Poor prognosis
Ph+ (t(9;22)(q34;q11)
Ph like
Cluster1 | Cluster2 | Cluster3 | Cluster4 | Cluster5
FFPE_5543-100ng | JEA.020-100ng | FFPE_3125-12.5ng | FFPE_3125-100ng | JEA.021-100ng
FFPE_5543-50ng | JEA.020-50ng |  | FFPE_3125-50ng | JEA.021-50ng
FFPE_5543-25ng | JEA.020-25ng |  | FFPE_3125-25ng | JEA.021-25ng
FFPE_5543-12.5ng |  |  |  | 
Cluster membership
Clinical Importance
Input range for subtyping for different FFPE samples and Heme (Ph+ or Ph like ALL)
right temporal brain tissue

## Slide 45
Observation:
Steady performance until 25 ng of input for FFPE and Globin samples
Minimum amount of reads required is 40M from 100 ng to 25 ng input
Initial Run-to-run performance is robust (need to more samples and run)
In-house pipeline is more specific with built-in QC metrics
Fusion
Expression
Observations:
Correlation coefficient is very high in both FFPE and HEME samples from 100 ng, 50 ng and 25 ng showing linearity
Ribosomal-RNA and Globin depletion is effective and needed
Evaluated Hierarchical clustering, heatmap clustering to find lowest input to be 12.5 ng for FFPE and 25 ng for Globin
(did not test 12.5 ng) and tumor dilution to 20% and above
Successfully grouped the Prostate cancer, salivary gland, Ph+ and Ph like ALL using the genes from 297 panel as POC for the chemistry (this saved time for pipeline)
More data is coming for full exome to explore for all other genes (in thousands)
Summary

## Slide 46
Sample Type | Wide variety including globin rich blood sample_Not part of Kit
FFPE | Yes
UMI included | No
Sample Input | 1-1000 ng 10 ng min for FFPE
Runtime (Total) | 7 hr
Hands on | <3
Stranded | Yes
Human cytoplasmic rRNA | Not part of Kit_ Different vendor
Mitochondria rRNA | Not part of Kit_Different vendor
Human beta globin transcripts | Not part of Kit: Different vendor
Automation | Capable
Analysis | Included
COGs (excluding sequencing) | About $100 per sample or less
Takara: Under testing

## Slide 47
Initial data looks run Q30 is about 75% and passing filter is also low
Gets lot of fusion from their pipeline , we miss some known fusion
Need to test more samples in Takara

## Slide 48
Thank you everyone in WES and WTS team

## Slide 49
Bk Up